| ORDER ID: Q2638 | MATRIX: Solid |
| --- | --- |
| METHOD: 8270E/3541 |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Chromatograms Labeled/Compounds Identified. (Field samples and Method Blanks) |  |  | ü |
| 2. | GC/MS Tuning Specifications. DFTPP Meet Criteria. (NOTE THAT THERE ARE DIFFERENT CRITERIA FOR NY ASP CLP, CLP AND NJ) |  |  | ü |
| 3. | GC/MS Tuning Frequency - Performed every 24 hours for 600 series and 12 hours for 8000 Series. |  |  | ü |
| 4. | GC/MS Calibration - Initial Calibration performed within 30 days before sample analysis and continuing calibration performed within 24 hours of sample analysis for 600 series and 12 hours for 8000 series. |  |  | ü |
| 5. | GC/MS Calibration Requirements. |  |  |  |
|  | The Initial Calibration met the requirements. The Continuous Calibration met the requirements. |  |  |  |
| 6. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 7. | Surrogate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable ranges. The Surrogate recoveries were met for all analysis except for, RT2286MS [Terphenyl-d14 - 44%], RT2286MSD [Terphenyl-d14 - 43%], OU4-TS-31-071725 [Terphenyl-d14 - 33%], OU4-TS-32-071725 [Terphenyl-d14 - 33%], OU4-TS-33-071725 [Terphenyl-d14 - 35%] and OU4-TS-35-071725 [Terphenyl-d14 - 37%]. As per SOP one base surrogate allowed to fail, therefor no further corrective action was taken. And, OU4-TS-34-071725 [2-Fluorobiphenyl - 43%, Terphenyl-d14 - 31%], OU4-TS-34-071725RE [2-Fluorobiphenyl - 43%, Terphenyl-d14 - 39%], OU4-TS-36-071725 [2-Fluorobiphenyl - 40%, Terphenyl-d14 - 42%], OU4-TS-36-071725RE [2-Fluorobiphenyl - 40%, Terphenyl-d14 - 40%], OU4-TS-37-071725 [2-Fluorobiphenyl - 39%, Terphenyl-d14 - 40%] and OU4-TS-37-071725RE [2-Fluorobiphenyl - 38%, Terphenyl-d14 - 40%]. Samples were re analyzed to confirm surrogate failure , Both the analysis reported for the Hardcopy. |  |  |  |
| 8. | Matrix Spike/Matrix Spike Duplicate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The MS {Q2635-01MS} with File ID: BF143180.D recoveries met the requirements for all compounds except for Benzo(b)fluoranthene[133%]. Recovery failed due to matrix interference, therefor no further corrective action was taken. The MSD {Q2635-01MSD} with File ID: BF143181.D recoveries met the requirements for all compounds except for Benzo(b)fluoranthene[133%], Fluoranthene[133%]. Recovery failed due to matrix interference, therefor no further corrective action was taken. The Blank Spike met requirements for all compounds. |  |  |  |
| 9. | Internal Standard Area/Retention Time Shift Meet Criteria Comments: The Internal Standards Areas were met for all analysis. |  |  |  |
| 10. | Extraction Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |
| 11. | Analysis Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |

ADDITIONAL COMMENTS:

As per special requirement for this project form-1 are reported in mg/kg.

The Form 6 is not included in the data package because the Initial Calibration was performed using 7 points.

The not QT review data is reported in the Miscellaneous.

The soil samples results are based on a dry weight basis.

Please use %D calculated based on Avg RF and CCRF for all compounds using Average Response Factor when the %RSD value for a compound is <20% for the Initial Calibration curve and use %D calculated based on Amount added and Calculated amount for all compounds using Linear Regression when the %RSD value for a compound is > 20% for the Initial Calibration curve for SW-846 analysis.

_______________________________________				__________________________

QA REVIEW								Date