| ORDER ID: Q2645 | MATRIX: /Water |
| --- | --- |
| METHOD: 1030,9040C,9045D |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 3. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for RW5B-CARBON-20250716 of pH as sample was receive out of holding time. |  |  |  |

ADDITIONAL COMMENTS:

The laboratory certifies that the all-electronic diskette deliverable exactly match the data summary forms (i.e. Form Is).

_______________________________________				__________________________

QA REVIEW								Date