[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
Environmental Restoration, LLC
Project Name: North Arlington, NJ
Project # N/A
Order ID # Q2646
Test Name: Flash Point,pH,TSS
A. Number of Samples and Date of Receipt:

2 Water samples were received on 07/18/2025.
B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Flash Point,pH,TSS. This data package contains results for Flash Point,pH,TSS.

C. Analytical Techniques:

The analysis of Flash Point was based on method 1010B, The analysis of pH was based on method 9040C and The analysis of TSS was based on method SM2540 D.
D. QA/ QC Samples:

The Holding Times were met for all samples except for FRAC TANK of pH as sample was receive out of holding time.
The Blank Spike met requirements for all compounds.
The Duplicate analysis met criteria for all compounds.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

E. Additional Comments:
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


