| ORDER ID: Q2742 | MATRIX: Water |
| --- | --- |
| METHOD: 300.0 |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all compounds.The Matrix Spike (9 BankerMS) analysis met criteria for all compounds except for Anions Group1(Chloride) due to matrix interference. The Matrix Spike Duplicate (9 BankerMSD) analysis met criteria for all compounds except for Anions Group1(Chloride) due to matrix interference. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |

ADDITIONAL COMMENTS:

_______________________________________				__________________________

QA REVIEW								Date