| ORDER ID: Q2757 | MATRIX: Solid |
| --- | --- |
| METHOD: NJEPH/3541 |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Chromatograms Labeled/Compounds Identified. |  |  | ü |
| 2. | Standard Summary Submitted. |  |  | ü |
| 3. | Calibration - Initial Calibration performed within 30 days before sample analysis and continuing calibration performed within 24 hours of sample analysis, 12 HOURS IF 8000 SERIES METHOD. |  |  |  |
| 4. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 5. | Surrogate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable ranges. |  |  |  |
| 6. | Matrix Spike/Matrix Spike Duplicate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The MS Q2757-07MS} with File ID: FE055257.D recoveries met the requirements for all compounds except for [n-Decane (C10)- 181%], [n-Tetracosane (C24)- 171%], [n-Dotriacontane (C32)- 155%], [n-Tetratriacontane (C34)- 152%], [n-Hexatriacontane (C36)- 175%], , [n-Octatriacontane (C38)- 151%]due to matrix interference. The MSD {Q2757-07MSD} with File ID: FE055258.D recoveries met the requirements for all compounds except for [n-Decane (C10)- 184%], [n-Tetracosane (C24)- 156%], [n-Octacosane (C28)- 143%], [n-Tricontane (C30)- 141%], [n-Dotriacontane (C32)- 160%], [n-Tetratriacontane (C34)- 153%], [n-Hexatriacontane (C36)- 185%], [n-Octatriacontane (C38)- 153%]due to matrix interference. The Blank Spike met requirements for all compounds. The Blank Spike Duplicate met requirements for all compounds. The RPD were met for all analysis. |  |  |  |
| 7. | Retention Time Shift Meet Criteria (if applicable) Comments: |  |  |  |
| 8. | Extraction Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |
| 9. | Analysis Holding Time Met If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |

ADDITIONAL COMMENTS:

Sample 3 was diluted due to high concentration.

The soil samples  results  are based on a dry weight basis.

_______________________________________				__________________________

QA REVIEW								Date