| ORDER ID: Q2810 | MATRIX: Water |
| --- | --- |
| METHOD: 1664A,9040C,SM2540 D,SM5210 B,SM5220 D |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all compounds. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for MH-892025 of pH as sample was receive out of holding time. |  |  |  |

ADDITIONAL COMMENTS: As per method 1664A(TPH), MS/MSD is required to be performed with the sample analysis. However, Lab did not receive sufficient volume to perform the MS/MSD therefore MS/MSD were not performed for this project.

Sample Q2810-01 analyzed straight 20X dilution for COD parameter because the original samples were reading over range, only 20X has been reported.

_______________________________________				__________________________

QA REVIEW								Date