| ORDER ID: Q2843 | MATRIX: Solid |
| --- | --- |
| METHOD: 1030,9012B,9034,9045D |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 3. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for NEWPCP-SS-1 14-16 of Corrosivity, for NEWPCP-SS-2 6-8 of Corrosivity, for NEWPCP-SS-2 8-10 of Corrosivity and for NEWPCP-SS-5 12-14 of Corrosivity as samples were receive out of holding time. |  |  |  |

ADDITIONAL COMMENTS:

The Date and time of sampling was not listed in the COC.

The temperature of the samples at the time of receipt was 26.2°C.

_______________________________________				__________________________

QA REVIEW								Date