[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
Core Environmental Consultants and Services, Inc.
Project Name: Bayshore Soil BSM Management
Project # N/A
Order ID # Q2994
Test Name: Paint Filter
A. Number of Samples and Date of Receipt:

1 Solid sample was received on 08/29/2025.

B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Paint Filter. This data package contains results for Paint Filter.

C. Analytical Techniques:

The analysis of Paint Filter was based on method 9095B.
D. QA/ QC Samples:

The Holding Times were met for all analysis..
The Duplicate analysis met criteria for all compounds.
The Calibration met the requirements.      

E. Additional Comments:
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


