[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
Alliance Technical Group, LLC - Newark
Project Name: NJ Waste Water PT
Project # N/A
Order ID # Q3019
Test Name: Alkalinity,Ammonia,Anions Group1,Anions Group2,Anions Group4,Anions Group5,BOD5,CBOD5,Chloride,COD,Color, Conductance, Cyanide, Hexavalent Chromium,Nitrite,Oil and Grease,pH,Phenolics,Phosphorus-Ortho,Phosphorus-Total,Residual Chlorine,Settleable Solids,Sulfate,Sulfide,TDS, TKN, TOC,TPH,TS,TSS,Turbidity,TVS
A. Number of Samples and Date of Receipt:

34 Water samples were received on 09/04/2025.

B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Alkalinity,Ammonia,Anions Group1,Anions Group2,Anions Group4,Anions Group5,BOD5,CBOD5,Chloride,COD,Color,Conductance,Cyanide,Hexavalent Chromium,Nitrite,Oil and Grease,pH,Phenolics,Phosphorus-Ortho,Phosphorus-Total,Residual Chlorine,Settleable Solids,Sulfate,Sulfide,TDS, TKN,TOC, TPH,TS,TSS,Turbidity,TVS. This data package contains results for Alkalinity, Ammonia,Anions Group1,Anions Group2,Anions Group4,Anions Group5,BOD5, CBOD5, Chloride,COD,Color,Conductance,Cyanide,Hexavalent Chromium,Nitrite,Oil and Grease,pH,Phenolics,Phosphorus-Ortho,Phosphorus-Total,Residual Chlorine, Settleable Solids,Sulfate,Sulfide,TDS,TKN,TOC,TPH,TS,TSS,Turbidity,TVS.

C. Analytical Techniques:

The analysis of Conductance was based on method 120.1, The analysis of TVS was based on method 160.4, The analysis of Oil and Grease,TPH was based on method 1664A, The analysis of Turbidity was based on method 180.1, The analysis of Anions Group1,Anions Group2,Anions Group4 was based on method 300.0, The analysis of Phosphorus-Total was based on method 365.3, The analysis of Phenolics was based on method 420.1, The analysis of Hexavalent Chromium was based on method 7196A, The analysis of Cyanide was based on method 9012B, The analysis of Cyanide was based on method 9014, The analysis of Sulfide was based on method 9034, The analysis of Sulfate was based on method 9038, The analysis of pH was based on method 9040C, The analysis of Conductance was based on method 9050A, The analysis of Anions Group1,Anions Group2,Anions Group5 was based on method 9056A, The analysis of TOC was based on method 9060A, The analysis of Phenolics was based on method 9065, The analysis of pH was based on method SM 4500-H B, The analysis of Sulfate was based on method SM 4500-SO4E, The analysis of Color was based on method SM2120 B, The analysis of Turbidity was based on method SM2130 B, The analysis of Alkalinity was based on method SM2320 B, The analysis of Conductance was based on method SM2510 B, The analysis of TS was based on method SM2540 B, The analysis of TDS was based on method SM2540 C, The analysis of TSS was based on method SM2540 D, The analysis of Settleable Solids was based on method SM2540 F, The analysis of TVS was based on method SM2540 G, The analysis of Hexavalent Chromium was based on method SM3500-Cr B, The analysis of Residual Chlorine was based on method SM4500 Cl G, The analysis of TKN was based on method SM4500 N Org B or C, The analysis of Sulfide was based on method SM4500 S EorF, The analysis of Chloride was based on method SM4500-CL C, The analysis of Cyanide was based on method SM4500-CN C,E, The analysis of Ammonia was based on method SM4500-NH3, The analysis of Nitrite was based on method SM4500-NO2 B, The analysis of Phosphorus-Ortho was based on method SM4500-P E, The analysis of BOD5,CBOD5 was based on method SM5210 B, The analysis of COD was based on method SM5220 D and The analysis of TOC was based on method SM5310B.
D. QA/ QC Samples:

The Holding Times were met for all analysis.
Sample WP0925-PT-DEM-WP was diluted due to high concentrations for TOC & Sample WP0925-PT-DEM-WP was diluted due to high concentrations for TOC & Sample WP0925-PT-MIN1-WP was diluted due to high concentrations for Chloride, Sulfate, Sulfate & Sample WP0925-PT-MIN1-WPDL was diluted due to high concentrations for Chloride & Sample WP0925-PT-MIN1-WP was diluted due to high concentrations for Chloride,Sulfate, Sulfate & Sample WP0925-PT-MIN1-WPDL was diluted due to high concentrations for Chloride & Sample WP0925-PT-NUT1-WP was diluted due to high concentrations for Ammonia as N, Nitrate & Sample WP0925-PT-NUT1-WP was diluted due to high concentrations for Orthophosphate as P, Nitrate & Sample WP0925-PT-NUT2-WP was diluted due to high concentrations for Phosphorus, Total & Sample WP0925-PT-NUT3-WP was diluted due to high concentrations for Nitrite & Sample WP0925-PT-CN-WP was diluted due to high concentrations for Cyanide & Sample WP0925-PT-CN-SP was diluted due to high concentrations for Cyanide & Sample WP0925-PT-CN-SP was diluted due to high concentrations for Cyanide.
The Blank Spike met requirements for all compounds.
The Duplicate analysis met criteria for all compounds.
The Matrix Spike analysis met criteria for all compounds.
The Matrix Spike Duplicate (EFFLUENTMSD) analysis met criteria for all compounds except for Phosphorus-Total due to Sample Matrix interference.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

E. Additional Comments:
As per method 1664A (TPH), MS/MSD is required to be performed with the sample analysis. However, Lab did not receive sufficient volume to perform the MS/MSD therefore MS/MSD were not performed for this project.

As per method 1664A (Oil and Grease), MS/MSD is required to be performed with the sample analysis. However, Lab did not receive sufficient volume to perform the MS/MSD for Q3019 therefore Lab reported MS-MSD from Q3057.
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


