[image: image1.emf]
284 Sheffield Street

Mountainside, NJ 07092

SDG NARRATIVE

USEPA

SDG # Q3084
CASE # ARC Sayreville PostEx 2025
CONTRACT # 68HERH20D0011
SOW# SFAM01.1
LAB NAME: Alliance Technical Group, LLC
LAB CODE: ACE
LAB ORDER ID #Q3084
A. Number of Samples and Date of Receipt

20 Water samples were delivered to the laboratory intact on 09/11/2025.
B. Parameters

Test requested for Metals CLP MS = Aluminum, Antimony, Arsenic, Beryllium, Cadmium, Chromium, Iron, Lead, Manganese, Nickel, Thallium and Hg.
C. Cooler Temp
Indicator Bottle: Presence/Absence 

Cooler:   4.1oC, 4.4oC
D. Analytical Techniques:

All analyses were based on CLP Methodology by method SFAM01.1.
E. Calculation:

Calculation  for ICP-MS Water Sample:

Concentration or Result (μg/L) =     C  x    Vf    x  DF






    Vi

Where,



C    = Instrument value in ppb (The average of all replicate integrations)


Vf = Final digestion volume (mL)


Vi = Initial aliquot amount (mL) (Sample amount taken in prep)


DF = Dilution Factor

Example Calculation For Sample PMW-9S(20250909) For Nickel:


If C    = 0.40 ppb


    Vf = 50 ml


    Vi  = 50 ml


    DF = 1

    Concentration or Result (μg/L) =       5.95 x   50   x 1






           50

                                                                     =    5.95 μg/L

                                                                    =    6.0  μg/L  (Reported Result with Signification)
Calculation for Hg Water Sample:

Concentration or Result (μg/L) =     C  x  DF
Where,



C    = Instrument response in μg/L from the calibration curve.


DF = Dilution Factor

Example Calculation For Sample PMW-9S(20250909):

If C    = 1.3197 ppb


    DF = 1

                 Concentration or Result (μg/L) =     0.1113 x  1

   =     0.1113 μg/L

                                                                    =     0.11 μg/L  (Reported Result with Signification)
F. QA/ QC

Calibrations met requirements.  Interference check met requirements.  Blank analyses did not indicate any presence of contamination. Laboratory Control sample was within control limits. Spike sample did meet requirements. Duplicate sample did meet requirements. Serial Dilution did meet requirements.
Collision cell is being used to remove potential interferences. The analytes Na, Mg, Al, K, V, Cr, Mn, Fe, Co, Ni, Cu, Zn, As are being analyzed with collision cell and analytes Be, B, Ca, Ti, Se, Sr, Zr, Mo, Ag, Cd, Sn, Sb, Ba, Tl, Pb, U  are being analyzed with Non-Collision Cell. Helium gas is used for the Collision Cell analysis.
Internal Standard Association for ICP-MS analysis.

	Target Analyte
	Associated Internal Standard

	Aluminum
	45Sc

	Antimony
	159Tb

	Arsenic
	89Y

	Beryllium
	6Li

	Cadmium
	159Tb

	Chromium
	45Sc

	Iron
	45Sc

	Lead
	209Bi

	Manganese
	45Sc

	Nickel
	45Sc

	Thallium
	209Bi


I certify that the data package is in compliance with the terms and conditions of the contract both technically and for completeness, for other than the conditions detailed above.  Release of the data contained in this hard copy data package has been authorized by the Laboratory Director or his designee, as verified by the following signature.

Signature__________________________
Name: Nimisha Pandya
Date _____________________________ 
Title: Document Control Officer

[image: image1.emf]