[image: image1.png]AII|anoe

ECHNICA



[image: image1.png]

CASE NARRATIVE

Scalamandre – Tully JV
Project Name: NYC DOT Harper Street Yard North
Project # N/A
Order ID # Q3150
Test Name: SVOCMS Group1
A. Number of Samples and Date of Receipt:

4 Solid samples were received on 09/19/2025.
B. Parameters


According to the Chain of Custody document, the following analyses were requested:

SVOCMS Group1. This data package contains results for SVOCMS Group1.

C. Analytical Techniques:

The samples were analyzed on instrument BNA_P using GC Column ZB-SemiVolatiles Guardian which is 30 meters, 0.25 mm ID, 0.5 um df, Catalog # 7HG-G027-17-GGA. The analysis of SVOCMS Group1 was based on method 8270E and extraction was done based on method 3541.
D. QA/ QC Samples:

The Holding Times were met for all analysis.
The Surrogate recoveries were met for all analysis.
The Internal Standards Areas were met for all analysis.
The Retention Times were met for all analysis.
The MS recoveries met the requirements for all compounds.
The MSD recoveries met the requirements for all compounds.
The RPD were met for all analysis.
The Blank Spike met requirements for all compounds.

The Blank analysis did not indicate the presence of lab contamination.
The %RSD is greater than 20% in the Initial Calibration (Method 8270-BP091225.M)  for 2,4-Dinitrophenol & 4-Nitrophenol.  These  Compounds are passing on Linear regression

The Continuous Calibration File ID BP025824.D met the requirements except for 4-Nitrophenol,Benzaldehyde,Benzo(g,h,i)perylene and Caprolactam. But associated samples have no positive hit for these compounds therefore no corrective action was taken.

The Continuous Calibration File ID BP025840.D met the requirements except for Benzaldehyde and Caprolactam.  But associated samples have no positive hit for these compounds therefore no corrective action was taken.

The Continuous Calibration File ID BP025855.D met the requirements except for Benzaldehyde.  But associated samples have no positive hit for this compound therefore no corrective action was taken
The Tuning criteria met requirements.          

Sample MER Rd Con Ed was diluted due to viscous matrix.
E. Additional Comments:
The soil samples  results  are based on a dry weight basis.

The temperature of the samples at the time of receipt was 18.3°C.
F. Manual Integration Comments:
Please refer to the Manual integration Report included with the Run Logs for information on the manual integrations performed.

I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


