ALLIANCE 284 Sheffield Street, Mountainside New Jersey 07092

NEW JERSEY LAB ID#: 20012: NEW YORK LAB ID#: 11376

GENERAL CHEMISTRY CONFORMANCE/NON-CONFORMANCE SUMMARY
CHEMTECH 284 Sheffield Street, Mountainside New Jersey 07092

NEW JERSEY LAB ID#: 20012: NEW YORK LAB ID#: 11376

GENERAL CHEMISTRY CONFORMANCE/NON-CONFORMANCE SUMMARY (CONTINUED)

	ORDER ID: Q3181

	MATRIX: Solid

	METHOD: 1030,160.4,1664A,9012B,9045D,9071B,9095B,SM2540 B,SM4500-NH3,SM5220 D

	


	
	
	NA
	NO
	YES

	   1.
	Blank Contamination - If yes, list compounds and concentrations in each blank:


	
	(
	

	   2.
	Matrix Spike Duplicate Recoveries Met Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.

The Blank Spike met requirements for all compounds.

	
	
	(

	   3.
	Sample Duplicate Analysis Met QC Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.

The Duplicate analysis met criteria for all compounds.

	
	(
	

	   8.
	Digestion Holding Time Met 






If not met, list number of days exceeded for each sample:

The Holding Times were met for all samples except for WC-A3-01-C of pH, for WC-A3-01-C of Corrosivity, for WC-A3-02-C of pH, for WC-A3-02-C of Corrosivity, for WC-A3-03-C of pH and for WC-A3-03-C of Corrosivity. As these samples are received out of hold.

	
	(
	


ADDITIONAL COMMENTS: 

_______________________________________



__________________________

QA REVIEW







Date

