[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
ENTACT
Project Name: 540 Degraw St, Brooklyn, NY - E9309
Project # N/A
Order ID # Q3181
Test Name: TCLP Mercury,TCLPMetals Group2
A. Number of Samples and Date of Receipt:

12 Solid samples were received on 09/24/2025.
B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

TCLP Mercury,TCLPMetals Group2. This data package contains results for TCLP Mercury,TCLPMetals Group2.

C. Analytical Techniques:

The analysis of TCLPMetals Group2 was based on method 6010D, digestion based on method 3010 (waters). The analysis and digestion of TCLP Mercury was based on method 7470A and TCLP extraction method was 1311.
D. QA/ QC Samples:

The Holding Times were met for all analysis.
The Blank Spike met requirements for all compounds.
The Duplicate (SU-ESM-COMP-02MSD) analysis met criteria for all samples except for Barium and Zinc due to matrix interference
The Matrix Spike (SU-ESM-COMP-02MS) analysis met criteria for all compounds except for Barium, Zinc due to sample matrix interference.
The Matrix Spike Duplicate analysis met criteria for all compounds.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

The Serial Dilution met the acceptable requirements.
E. Additional Comments:
As per special requirement for this project form-1 and Hit Summary are reported in mg/l.

The Post Digest Spike (SU-ESM-COMP-02A) analysis met criteria for all compounds except for Barium due to unknown chemical interference of matrix with the addition of spike amount after digestion and before analysis; matrix has suppression effect during addition of spike.
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


