ALLIANCE 284 Sheffield Street, Mountainside New Jersey 07092

NEW JERSEY LAB ID#: 20012: NEW YORK LAB ID#: 11376

GENERAL CHEMISTRY CONFORMANCE/NON-CONFORMANCE SUMMARY
CHEMTECH 284 Sheffield Street, Mountainside New Jersey 07092

NEW JERSEY LAB ID#: 20012: NEW YORK LAB ID#: 11376

GENERAL CHEMISTRY CONFORMANCE/NON-CONFORMANCE SUMMARY (CONTINUED)

	ORDER ID: Q3202

	MATRIX: Water

	METHOD: 300.0,Cal,SM 4500-H B,SM2130 B,SM2320 B,SM2540 C,SM2540 D,SM4500 N Org B or C,SM4500-NH3,SM5210 B

	


	
	
	NA
	NO
	YES

	   1.
	Blank Contamination - If yes, list compounds and concentrations in each blank:


	
	(
	

	   2.
	Matrix Spike Duplicate Recoveries Met Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.

The Blank Spike met requirements for all compounds.The Matrix Spike (SY-3DMS) analysis met criteria for all compounds except for Chloride due to sample matrix interference. The Matrix Spike Duplicate (SY-3DMSD) analysis met criteria for all compounds except for Anions Chloride due to sample matrix interference.

	
	(
	

	   3.
	Sample Duplicate Analysis Met QC Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.


	
	
	(

	   8.
	Digestion Holding Time Met 






If not met, list number of days exceeded for each sample:

The Holding Times were met for all samples except for SY-2D of pH, for SY-2R of pH, for SY-3 of pH, for SY-3D of pH, for SY-3DD of pH, for SY-5 of pH, for SY-6 of pH as samples were receive out of holding time. The Holding Times were met for all samples except for SY-6 of Nitrate and Nitrite as sample was analyzed out of holding time. The Holding Times were met for all samples except for SY-6 of TDS, for SY-2R of TDS as samples were receive out of holding time.

	
	(
	


ADDITIONAL COMMENTS: Due to very turbid matrix Q3202-11 was performed with 2X  straight dilution and Q3202-17 was performed with 100X straight dilution for Turbidity parameter.
_______________________________________



__________________________

QA REVIEW







Date

