[image: image1.png]AII|anoe

ECHNICA






284 Sheffield Street, Mountainside, NJ 7092, Phone: 908 789 8900, Fax: 908 789 8922


CASE NARRATIVE

VERINA CONSULTING GROUP, LLC
Project Name: Rotor Clip NJ WTD - 2025
Project # N/A
Order ID # Q3268
Test Name: Metals Group4,Ammonia,Residual Chlorine
A. Number of Samples and Date of Receipt:

1 Water sample was received on 10/02/2025.

B. Parameters


According to the Chain of Custody document, the following analyses were requested:

Metals Group4,Ammonia,Residual Chlorine. This data package contains results for Metals Group4(6010D),Ammonia(SM4500-NH3),Residual Chlorine(SM4500 Cl G).

C. Analytical Techniques:

Metals Group4 : The analysis of Metals Group4 was based on method 6010D and digestion based on method 3010 (waters).

Wetchem : The analysis of Residual Chlorine was based on method SM4500 Cl G and The analysis of Ammonia was based on method SM4500-NH3.
D. QA/ QC Samples:

The Holding Times were met for all analysis except following Wetchem : WATER-TREATMENT-DISCHARGE of Residual Chlorine as sample was receive out of holing time.
The MS recoveries met the requirements for all compounds.
The MSD recoveries met the acceptable requirements.
The RPD recoveries met criteria.
The Blank Spike met requirements for all compounds.  
The Blank analysis did not indicate the presence of lab contamination.
The Initial Calibration met the requirements.

The Continuous Calibration met the requirements.
The Duplicate analysis met criteria for all samples.
The Serial Dilution met the acceptable requirements.
E. Additional Comments:
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


