          [image: image2.png]AII|anoe

ECHNICA




         284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
GC ANALYSIS CONFORMANCE/NON-CONFORMANCE SUMMARY
          [image: image1.png]AII|anoe

ECHNICA




         284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
GC ANALYSIS CONFORMANCE/NON-CONFORMANCE SUMMARY (CONTINUED)
	
	
	NA
	NO
	YES



	ORDER ID: Q3301

	MATRIX: Solid

	METHOD: NJEPH/3541

	


	
	
	NA
	NO
	YES

	1.
	Chromatograms Labeled/Compounds Identified.


	
	
	(

	2.
	Standard Summary Submitted.


	
	
	(

	3.
	Calibration - Initial Calibration performed within 30 days before sample analysis and continuing calibration performed within 24 hours of sample analysis, 12 HOURS IF 8000 SERIES METHOD.

The Initial Calibration met the requirements.
The Continuous Calibration met the requirements.

 ASK  wdcalcomm " "  \* MERGEFORMAT 

	
	
	(

	 4.
	Blank Contamination - If yes, list compounds and concentrations in each blank:


	
	(
	

	 5.
	Surrogate Recoveries Meet Criteria


If not met, list those compounds and their recoveries which fall outside the acceptable ranges.

The Surrogate recoveries were met for all analysis except for 

SOIL Aliphatic [1-chlorooctadecane (SURR) - 191%],

SOIL Aromatic [2-Bromonaphthalene (SURR) - 190%,  2-Flurobiphenyl (SURR) - 144%],

SOILDL Aliphatic [1-chlorooctadecane (SURR) - 164%], 

SOILDL Aromatic [2-Bromonaphthalene (SURR) - 181% , 2-Flurobiphenyl (SURR) - 150%], 

SOILDL2 Aliphatic [1-chlorooctadecane (SURR) - 164%], 

SOILDL2 Aromatic [2-Bromonaphthalene (SURR) - 360% , 2-Flurobiphenyl (SURR) - 478%, ortho-Terphenyl (SURR) - 258%], 

but this sample was required further dilution as well due to high concentration, 

therefore original and Dilution analysis were reported and no further corrective action taken.

SOILMS Aromatic [2-Bromonaphthalene (SURR) - 184%],

SOILMSD Aromatic [2-Bromonaphthalene (SURR) - 180% , 2-Flurobiphenyl (SURR) - 144%], MSMSD confirm with its original sample.

	
	(
	

	 6.
	Matrix Spike/Matrix Spike Duplicate Recoveries Meet Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.

The MS {Q3301-01MS} with File ID: FC069965.D recoveries met the requirements for all compounds except for Aliphatic [ n-Hexadecane (C16)- 19%], [n-Octadecane (C18) - 13%], [n-Hexatriacontane (C36) - 148%], [n-Octatriacontane (C38) -149%] due to matrix interfernce. & for [Naphthalene (C11.7)- 24%, 2-methylnaphthalene (C12.89)- 250%], these analytes are only being monitoring in aliphatic fraction.The MS {Q3301-01MS} with File ID: FD049834.D recoveries met the requirements for all compounds except for Aromatic [Acenaphthylene (C15.06) - 143%], [Acenaphthene (C15.5) - 285%], Flouorene (C16.55) - 148%], [Anthracene (C19.43) - 497%], [Pyrene (C20.8) - 178%], [Fluoranthene (C21.85) - 186%], [Benzo[a]anthracene (C26.37) - 205%], [Chrysene (C27.41) - 414%], [Bnezo[k]fluoranthene (C30.14) - 410%],[Dibenz[a,h]anthracene (C30.36) - 381%], [benzo[b]fluoranthene (C30.41) - 197%], [Benzo[a]pyrene (C31.34) - 191%], [Benzo[g,h,i]perylene (C34.01) - 190%], [Indeno[1,2,3-cd]pyrene (C35.01) - 216%] due to matrix interference.

The MSD {Q3301-01MSD} with File ID: FC069966.D recoveries met the requirements for all compounds except for Aliphatic [ n-Decane (C10)- 146%], [ n-Tetradecane (C14)- 155%], [n-Octadecane (C18) - 479%], [n-Octatriacontane (C38) -150%], [n-Tetracontane (C40) - 142%] due to matrix interfernce. & for [Naphthalene (C11.7)- 39%, 2-methylnaphthalene (C12.89)- 519%], these analytes are only being monitoring in aliphatic fraction.

The MSD {Q3301-01MSD} with File ID: FD049835.D recoveries met the requirements for all compounds except for Aromatic [Acenaphthene (C15.5) - 282%], Flouorene (C16.55) - 142%], [Anthracene (C19.43) - 494%], [Pyrene (C20.8) - 177%], [Fluoranthene (C21.85) - 181%], [Benzo[a]anthracene (C26.37) - 202%], [Chrysene (C27.41) - 409%], [Bnezo[k]fluoranthene (C30.14) - 408%],[Dibenz[a,h]anthracene (C30.36) - 380%], [benzo[b]fluoranthene (C30.41) - 195%], [Benzo[a]pyrene (C31.34) - 190%], [Benzo[g,h,i]perylene (C34.01) - 189%], [Indeno[1,2,3-cd]pyrene (C35.01) - 213%] due to matrix interference.

The Blank Spike met requirements for all compounds.

The Blank Spike Duplicate met requirements for all compounds.

The RPD for {Q3301-01MSD} with File ID: FC069966.D met criteria except for Aliphatic  [2-methylnaphthalene (C12.89) - 69.96%], [n-Hexadecane (C16) - 142.42%], [n-Octadecane (C18) - 189.43%], [n-Eicosane (C20) - 71.35%] due to difference in MSMSD concentrations.


	
	(
	

	7.
	Retention Time Shift Meet Criteria (if applicable)

Comments: 


	
	
	(

	8.
	Extraction Holding Time Met 






If not met, list number of days exceeded for each sample:


	
	(
	

	9.
	Analysis Holding Time Met 






If not met, list those compounds and their recoveries which fall outside the acceptable range.

The Holding Times were met for all analysis except for SOIL. As sample received late in Lab.

	
	(
	


ADDITIONAL COMMENTS: 
Sample SOIL,SOILDL were diluted due to high concentration for Aliphatic and Aromatic compounds. 

The soil samples  results  are based on a dry weight basis.
_______________________________________



__________________________

QA REVIEW







Date

[image: image1.png][image: image2.png]