ALLIANCE 284 Sheffield Street, Mountainside New Jersey 07092

NEW JERSEY LAB ID#: 20012: NEW YORK LAB ID#: 11376

GENERAL CHEMISTRY CONFORMANCE/NON-CONFORMANCE SUMMARY
CHEMTECH 284 Sheffield Street, Mountainside New Jersey 07092

NEW JERSEY LAB ID#: 20012: NEW YORK LAB ID#: 11376

GENERAL CHEMISTRY CONFORMANCE/NON-CONFORMANCE SUMMARY (CONTINUED)

	ORDER ID: Q3344

	MATRIX: Water

	METHOD: 1664A,365.3,SM2120 B,SM2540 C,SM2540 D,SM4500-NH3,SM5210 B,SM5220 D

	


	
	
	NA
	NO
	YES

	   1.
	Blank Contamination - If yes, list compounds and concentrations in each blank:


	
	(
	

	   2.
	Matrix Spike Duplicate Recoveries Met Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.

The Blank Spike met requirements for all compounds.

	
	
	(

	   3.
	Sample Duplicate Analysis Met QC Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.

The Duplicate (TANK-FARM-WATERDUP) analysis met criteria for all compounds except for Ammonia as N due to sample matrix interference.

	
	(
	

	   8.
	Digestion Holding Time Met 






If not met, list number of days exceeded for each sample:


	
	
	(


ADDITIONAL COMMENTS: As per method 1664A (Oil and Grease), MS/MSD is required to be performed with the sample analysis. However, Lab did not receive sufficient volume to perform the MS/MSD for Q3344 therefore Lab reported MS-MSD from Q3328.

As per method 1664A (TPH), MS/MSD is required to be performed with the sample analysis. However, Lab did not receive sufficient volume to perform the MS/MSD therefore MS/MSD were not performed for this project.

Sample Q3344-01 was analyzed with 20x dilution for Color parameter due to client history of high results.

Due to bad Matrix and Client History 1.00 ml was taken as an initail Volume for Ammonia for Q3344-01.
_______________________________________



__________________________

QA REVIEW







Date

