[image: image1.png]AII|anoe

ECHNICA



[image: image1.png]

CASE NARRATIVE

Core Environmental Consultants and Services, Inc.
Project Name: NYPA PURS Station
Project # N/A
Order ID # Q3349
Test Name: TCLP BNA
A. Number of Samples and Date of Receipt:

1 Solid sample was received on 10/14/2025.

B. Parameters


According to the Chain of Custody document, the following analyses were requested:

TCLP BNA. This data package contains results for TCLP BNA.

C. Analytical Techniques:

The samples were analyzed on instrument BNA_F using GC Column DB-UI 8270D which is 20 meters, 0.18 mm ID, 0.36 um df. The analysis of TCLP BNA was based on method 8270E and extraction was done based on method 3510 and TCLP extraction method was 1311.
D. QA/ QC Samples:

The Holding Times were met for all analysis.
The Surrogate recoveries were met for all analysis except for PURS Station [2-Fluorobiphenyl - 133%], as per method one acid and one base surrogate allow to fail therefore no corrective action taken.
The Internal Standards Areas were met for all analysis except for PURS Station due to matrix interference therefore no corrective action taken.

.
The Retention Times were met for all analysis.
The MS {Q3352-04MS} with File ID: BF143989.D recoveries met the requirements for all compounds except for 2,4,5-Trichlorophenol[112%] and Nitrobenzene[114%], due to matrix interference.
The MSD {Q3352-04MSD} with File ID: BF143990.D recoveries met the requirements for all compounds except for 2,4,5-Trichlorophenol[116%], 2,4,6-Trichlorophenol[114%], Hexachlorobenzene[116%] and Nitrobenzene[118%], due to matrix interference.
The RPD were met for all analysis.
The Blank Spike met requirements for all compounds.

The Blank analysis did not indicate the presence of lab contamination.
The Initial Calibration met the requirements.

The Continuous Calibration met the requirements.
The Tuning criteria met requirements.          

E. Additional Comments:
The Form 6 is not included in the data package because the Initial Calibration was performed using 7 points.
F. Manual Integration Comments:
Please refer to the Manual integration Report included with the Run Logs for information on the manual integrations performed.

I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


