ALLIANCE 284 Sheffield Street, Mountainside New Jersey 07092

NEW JERSEY LAB ID#: 20012: NEW YORK LAB ID#: 11376

GENERAL CHEMISTRY CONFORMANCE/NON-CONFORMANCE SUMMARY
CHEMTECH 284 Sheffield Street, Mountainside New Jersey 07092

NEW JERSEY LAB ID#: 20012: NEW YORK LAB ID#: 11376

GENERAL CHEMISTRY CONFORMANCE/NON-CONFORMANCE SUMMARY (CONTINUED)

	ORDER ID: Q3368

	MATRIX: /Water

	METHOD: 1030,160.4,1664A,9012B,9034,9040C,9045D,9071B,9095B,SM2540 B,SM4500-NH3,SM5220 D

	


	
	
	NA
	NO
	YES

	   1.
	Blank Contamination - If yes, list compounds and concentrations in each blank:


	
	(
	

	   2.
	Matrix Spike Duplicate Recoveries Met Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.

The Blank Spike met requirements for all compounds.The Matrix Spike (OUTSIDE-DUMPSTERMS) analysis met criteria for all compounds except for Oil and Grease due to sample matrix interference. The Matrix Spike Duplicate (OUTSIDE-DUMPSTERMSD) analysis met criteria for all compounds except for Oil and Grease due to sample matrix interference.

	
	(
	

	   3.
	Sample Duplicate Analysis Met QC Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.


	
	
	(

	   8.
	Digestion Holding Time Met 






If not met, list number of days exceeded for each sample:

The Holding Times were met for all samples except for OUTSIDE-DUMPSTER of Corrosivity, pH as sample was receive out of holding time. for PRESS-SLUDGE of Corrosivity, pH as sample was receive out of holding time. The Holding Times were met for all samples except for OUTSIDE-DUMPSTER of TS, TVS as sample was analyzed out of holding time due to activated sample. for PRESS-SLUDGE of TS, TVS as sample was analyzed out of holding time due to activated sample.

	
	(
	


ADDITIONAL COMMENTS: Sample Q3368-13 and Q3368-14 were analyzed straight dilution for ASTM COD because the original samples were reading over range, only 5X has been reported.
_______________________________________



__________________________

QA REVIEW







Date

