          [image: image2.png]AII|anoe

ECHNICA




         284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
GC ANALYSIS CONFORMANCE/NON-CONFORMANCE SUMMARY
          [image: image1.png]AII|anoe

ECHNICA




         284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
GC ANALYSIS CONFORMANCE/NON-CONFORMANCE SUMMARY (CONTINUED)
	
	
	NA
	NO
	YES



	ORDER ID: Q3368

	MATRIX: TCLP

	METHOD: 8081B/3510/1311

	


	
	
	NA
	NO
	YES

	1.
	Chromatograms Labeled/Compounds Identified.


	
	
	(

	2.
	Standard Summary Submitted.


	
	
	(

	3.
	Calibration - Initial Calibration performed within 30 days before sample analysis and continuing calibration performed within 24 hours of sample analysis, 12 HOURS IF 8000 SERIES METHOD.

The Initial Calibration met the requirements.
The Continuous Calibration File ID PD090949.D met the requirements except for Heptachlor is failing in 1st column, failing high but associated samples have no positive hit for this compund therefore no corrective action eas taken. AND Decachlorobiphenyl is failing in 2nd column. failing marginally therefore no corrective action was taken. 

The Continuous Calibration File ID PD090957.D met the requirements except for Heptachlor is failing in 1st column, failing high but associated samples have no positive hit for this compund therefore no corrective action was taken.

The Continuous Calibration File ID PD090961.D met the requirements except for Heptachlor is failing in 1st column, failing high but associated samples have no positive hit for this compund therefore no corrective action was taken.

The Continuous Calibration File ID PD090969.D met the requirements except for Heptachlor is failing in 1st column, failing high but associated samples have no positive hit for this compund therefore no corrective action was taken.

 ASK  wdcalcomm " "  \* MERGEFORMAT 

	
	
	(

	 4.
	Blank Contamination - If yes, list compounds and concentrations in each blank:


	
	(
	

	 5.
	Surrogate Recoveries Meet Criteria


If not met, list those compounds and their recoveries which fall outside the acceptable ranges.

The Surrogate recoveries were met for all analysis except for  OUTSIDE-DUMPSTER [Decachlorobiphenyl(1)38%, Decachlorobiphenyl(2)20%, Tetrachloro-m-xylene(1)46%, Tetrachloro-m-xylene(2)55%], OUTSIDE-DUMPSTERRE [Decachlorobiphenyl(1)44%, Decachlorobiphenyl(2)41%, Tetrachloro-m-xylene(1)48%, Tetrachloro-m-xylene(2)59%], PRESS-SLUDGE [Decachlorobiphenyl(1)27%, Decachlorobiphenyl(2)21%, Tetrachloro-m-xylene(1)15% and Tetrachloro-m-xylene(2)37%], PRESS-SLUDGERE [Decachlorobiphenyl(1)32%, Decachlorobiphenyl(2)28%, Tetrachloro-m-xylene(1)15% and Tetrachloro-m-xylene(2)39%], OUTSIDE-DUMPSTERMS [Decachlorobiphenyl(1)47%, Decachlorobiphenyl(2)31%],  OUTSIDE-DUMPSTERMSD [Decachlorobiphenyl(1)48%, Decachlorobiphenyl(2)35%], due to matrix interference. These samples did not re-extracted as there was no extra volume. Hence samples re-analyzed and original & Reanalysis both are repotred.

	
	(
	

	 6.
	Matrix Spike/Matrix Spike Duplicate Recoveries Meet Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.

The MS {Q3368-06MS} with File ID: PD090945.D recoveries met the requirements for all compounds except for [Endrin(1)68% - Endrin(2)58%], [Heptachlor epoxide(1)72% - Heptachlor epoxide(2)66%] and [Methoxychlor(2)52%] due matrix interference due to matrix interference.

The MSD {Q3368-06MSD} with File ID: PD090946.D recoveries met the requirements for all compounds except for Endrin(1)72% - Endrin(2)62%], [Heptachlor epoxide(1)76% - Heptachlor epoxide(2)70%] and [Methoxychlor(2)58%] due to matrix interference.

The Blank Spike met requirements for all compounds.

The RPD were met for all analysis.

	
	(
	

	7.
	Retention Time Shift Meet Criteria (if applicable)

Comments: 


	
	
	(

	8.
	Extraction Holding Time Met 






If not met, list number of days exceeded for each sample:


	
	
	(

	9.
	Analysis Holding Time Met 






If not met, list those compounds and their recoveries which fall outside the acceptable range.


	
	
	(


ADDITIONAL COMMENTS: 
_______________________________________



__________________________

QA REVIEW







Date

[image: image1.png][image: image2.png]