[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
Ardmore Chemical
Project Name: PVSC Monthly 2025
Project # N/A
Order ID # Q3385
Test Name: Mercury,Metals Group3
A. Number of Samples and Date of Receipt:

6 Water samples were received on 10/17/2025.

B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Mercury,Metals Group3. This data package contains results for Mercury,Metals Group3.

C. Analytical Techniques:

Mercury,Metals Group3 : The analysis and digestion of Metals Group3 was based on 200.7 and The analysis and digestion of Mercury was based on 245.1.
D. QA/ QC Samples:

The Holding Times were met for all analysis. 

The Blank Spike met requirements for all compounds. The Blank Spike Duplicate met requirements for all compounds.

The Duplicate analysis met criteria for all compounds. 

The MS recoveries met the requirements for all compounds. 

The MSD recoveries met the requirements for all compounds. 

The Serial Dilution met criteria for all compounds. 

E. Additional Comments:
LLCCV & LLICV are not required for 200.7 method.
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


