[image: image1.png]AII|anoe

ECHNICA



[image: image1.png]

CASE NARRATIVE

ICE Service Group, Inc.
Project Name: NWIRP Northrup Grumman Site – Bethpage, NY
Project # N/A
Order ID # Q3400
Test Name: VOC-TCLVOA-10
A. Number of Samples and Date of Receipt:

1 Water sample was received on 10/20/2025.
B. Parameters


According to the Chain of Custody document, the following analyses were requested:

VOC-TCLVOA-10. This data package contains results for VOC-TCLVOA-10.

C. Analytical Techniques:

The analysis performed on instrument MSVOA_X were done using GC column DB-624UI 20m 0.18mm 1.0 um. Cat#121-1324UI. The analysis of VOC-TCLVOA-10 was based on method 8260-Low.
D. QA/ QC Samples:

The Holding Times were met for all analysis.
The Surrogate recoveries were met for all analysis except for FRAC-TANK-0760450 [4-Bromofluorobenzene - 116%],VIAL A and B combined to run this sample as both having much sediment ; Lab has only two vials, now no more vial for reanalysis therefore surrogate failure data reported as final.
The Internal Standards Areas were met for all analysis.
The Retention Times were met for all analysis.
The RPD were met for all analysis.
The Blank Spike met requirements for all compounds.

The Blank Spike Duplicate met requirements for all compounds.
The Blank analysis did not indicate the presence of lab contamination.
The Initial Calibration met the requirements.

The Continuous Calibration File ID VX048252.D met the requirements except for 4-Methyl-2-Pentanone.  Failing marginally low therefore no corrective action was taken.
The Tuning criteria met requirements.          

E. Additional Comments:
Samples for MS/MSD for VOC analysis were not provided with this set of samples. The Blank Spike Duplicate is reported with the data.
F. Manual Integration Comments:
Please refer to the Manual integration Report included with the Run Logs for information on the manual integrations performed.

I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


