ALLIANCE 284 Sheffield Street, Mountainside New Jersey 07092

NEW JERSEY LAB ID#: 20012: NEW YORK LAB ID#: 11376

GENERAL CHEMISTRY CONFORMANCE/NON-CONFORMANCE SUMMARY
CHEMTECH 284 Sheffield Street, Mountainside New Jersey 07092

NEW JERSEY LAB ID#: 20012: NEW YORK LAB ID#: 11376

GENERAL CHEMISTRY CONFORMANCE/NON-CONFORMANCE SUMMARY (CONTINUED)

	ORDER ID: Q3419

	MATRIX: Solid

	METHOD: 7196A,Lloyd Kahn

	


	
	
	NA
	NO
	YES

	   1.
	Blank Contamination - If yes, list compounds and concentrations in each blank:


	
	(
	

	   2.
	Matrix Spike Duplicate Recoveries Met Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.

The Blank Spike met requirements for all compounds. The Matrix Spike analysis met criteria for all compounds. The Matrix Spike Duplicate analysis met criteria for all compounds.

	
	
	(

	   3.
	Sample Duplicate Analysis Met QC Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.


	
	
	(

	   4.
	Digestion Holding Time Met 






If not met, list number of days exceeded for each sample:


	
	
	(


ADDITIONAL COMMENTS: 
Lab has used least representable sample weight for the sample Q3419-01, Q3419-04 and Q3419-05 for TOC analysis. Therefore Lab has reported the TOC result with "OR" qualifier.
_______________________________________



__________________________

QA REVIEW







Date

