[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
ATG-GREENVILLE AEC
Project Name: AEC-2025-0013
Project # N/A
Order ID # Q3442
Test Name: Anions Group1,BOD5,COD,pH,Phosphorus-Total,TKN,Total  Nitrogen,TSS,Oil and Grease
A. Number of Samples and Date of Receipt:

1 Water sample was received on 10/23/2025.
B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Anions Group1,BOD5,COD,pH,Phosphorus-Total,TKN,Total  Nitrogen,TSS,Oil and Grease. This data package contains results for Anions Group1, BOD5, COD, pH, Phosphorus-Total,TKN,Total  Nitrogen,TSS,Oil and grease.

C. Analytical Techniques:

The analysis of Anions Group1 was based on method 300.0, The analysis of Phosphorus-Total was based on method 365.3, The analysis of pH was based on method 9040C, The analysis of Total  Nitrogen was based on method Cal, The analysis of TSS was based on method SM2540 D, The analysis of TKN was based on method SM4500 N Org B or C, The analysis of BOD5 was based on method SM5210 B and The analysis of COD was based on method SM5220 D. The analysis of Oil and Grease was based on method 1664A.

D. QA/ QC Samples:

The Holding Times were met for all samples except for SW-1 of BOD5, Nitrite, Nitrate and pH as sample was receive out of holding time.
The Blank Spike met requirements for all compounds.
The Duplicate analysis met criteria for all compounds.
The Matrix Spike analysis met criteria for all compounds.
The Matrix Spike Duplicate analysis met criteria for all compounds.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

E. Additional Comments:
As per method 1664A, MS/MSD is required to be performed with the sample analysis. However, Lab did not receive sufficient volume to perform the MS/MSD for Q3442 therefore Lab reported MS-MSD from Q3551 and Q3554.

This Data Package has been Revised because of for Genchem, Oil and Grease parameter activated as per Client Request.
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


