[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
G Environmental
Project Name: Buffington
Project # N/A
Order ID # Q3464
Test Name: Alkalinity,Anions Group1,COD
A. Number of Samples and Date of Receipt:

2 Water samples were received on 10/24/2025.

B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Alkalinity,Anions Group1,COD. This data package contains results for Alkalinity,Anions Group1,COD.

C. Analytical Techniques:

The analysis of Anions Group1 was based on method 300.0, The analysis of Alkalinity was based on method SM2320 B and The analysis of COD was based on method SM5220 D.
D. QA/ QC Samples:

The Holding Times were met for all analysis.
Sample MW2 was diluted due to high concentrations for Sulfate & Sample MW3 was diluted due to high concentrations for Sulfate.
The Blank Spike met requirements for all compounds.
The Duplicate analysis met criteria for all compounds.
The Matrix Spike (MW2MS) analysis met criteria for all compounds except for Anions Group1(Sulfate) due to Matrix Interference.
The Matrix Spike Duplicate (MW2MSD) analysis met criteria for all compounds except for Anions Group1(Sulfate) due to Matrix interference.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

E. Additional Comments:
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


