ALLIANCE 284 Sheffield Street, Mountainside New Jersey 07092

NEW JERSEY LAB ID#: 20012: NEW YORK LAB ID#: 11376

METALS CONFORMANCE/NON-CONFORMANCE SUMMARY
ALLIANCE 284 Sheffield Street, Mountainside New Jersey 07092

NEW JERSEY LAB ID#: 20012: NEW YORK LAB ID#: 11376

METALS CONFORMANCE/NON-CONFORMANCE SUMMARY (CONTINUED)
	
	
	NA
	NO
	YES



	ORDER ID: Q3495

	MATRIX: Solid, Water

	METHOD: 6010D,7470A,7471B

	


	
	
	NA
	NO
	YES

	   1.
	Calibration Summary met criteria.


	
	
	(

	   2.
	ICP Interference Check Sample Results Summary Submitted.


	
	
	(

	   3.
	Serial Dilution Summary (if applicable) Submitted.

The Serial Dilution (SB-1025-1L) met criteria for all compounds except for Aluminum, Chromium, Iron, Manganese and Potassium due to sample matrix interference. The Serial Dilution (TW-1025-1L) met criteria for all compounds except for Aluminum and Chromium due to sample matrix interference.

	
	(
	

	   4.
	Laboratory Control Sample Summary (if applicable) Submitted.


	
	
	(

	   5.
	Blank Contamination - If yes, list compounds and concentrations in each blank:



	
	(
	

	   6.
	Matrix Spike/Matrix Spike Duplicate Recoveries Met Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.

The Matrix Spike (SB-1025-1MS) analysis met criteria for all compounds except for Antimony, Chromium, Manganese, Potassium, Vanadium and Zinc due to Chemical Interference during Digestion Process. The Matrix Spike (TW-1025-1MS) analysis met criteria for all compounds except for Aluminum and Potassium due to Chemical interference during digestion process.  The Matrix Spike Duplicate (SB-1025-1MSD) analysis met criteria for all compounds except for Antimony, Chromium, Manganese, Potassium, Vanadium and Zinc due to Chemical interference during digestion process. The Matrix Spike Duplicate (TW-1025-1MSD) analysis met criteria for all compounds except for Aluminum due to Chemical interference during digestion process.

	
	(
	

	   7.
	Sample Duplicate Analysis Met QC Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.

The Duplicate (TW-1025-1DUP) analysis met criteria for all compounds except for Manganese due to sample matrix interference.

	
	(
	

	   8.
	Digestion Holding Time Met 






If not met, list number of days exceeded for each sample:


	
	
	(

	   9.
	Analysis Holding Time Met 






If not met, list those compounds and their recoveries which fall outside the acceptable range.


	
	
	(


ADDITIONAL COMMENTS: The Post Digest Spike (TW-1025-1A) analysis met criteria for all compounds except for Aluminum and Potassium due to unknown chemical interference of matrix with the addition of spike amount after digestion and before analysis; matrix has suppression effect during addition of spike.

In analytical sequence LB137750, The % recovery was outside of acceptance limit for all parameter of CCV08 but, no any sample associated under this CCV.

In analytical sequence LB137798, The % recovery was outside of acceptance limit for Sodium of CCV06 but, no any sample associated under this CCV.

In analytical sequence LB137798, The Result was outside of acceptance limit for Sodium and Potassium of CCB06 but, no any sample associated under this CCB.
_______________________________________



__________________________

QA REVIEW







Date


