[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
NYU Langone Health
Project Name: NYU Clinical Lab Water Testing 2025 - H252243895
Project # N/A
Order ID # Q3524
Test Name: pH
A. Number of Samples and Date of Receipt:

4 Water samples were received on 10/31/2025.

B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

pH. This data package contains results for pH.

C. Analytical Techniques:

The analysis of pH was based on method 9040C.
D. QA/ QC Samples:

The Holding Times were met for all samples except for TH-404-DI-4 of pH, for TH-430-DI-1 of pH, for TH-430-DI-2 of pH and for TH-430-DI-3 of pH as samples were receive out of holding time.
The Duplicate analysis met criteria for all compounds.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

E. Additional Comments:
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


