[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
Remington & Vernick Engineers
Project Name: Edison Landfill
Project # N/A
Order ID # Q3534
Test Name: Anions Group1,BOD5,COD,Cyanide,Hexavalent Chromium,Oil and Grease,pH,TDS,TKN
A. Number of Samples and Date of Receipt:

9 Water samples were received on 11/04/2025.

B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Anions Group1,BOD5,COD,Cyanide,Hexavalent Chromium,Oil and Grease, pH, TDS, TKN. This data package contains results for Anions Group1, BOD5, COD,Cyanide, Hexavalent Chromium,Oil and Grease,pH,TDS,TKN.

C. Analytical Techniques:

The analysis of Oil and Grease was based on method 1664A, The analysis of Anions Group1 was based on method 300.0, The analysis of Hexavalent Chromium was based on method 7196A, The analysis of Cyanide was based on method 9012B, The analysis of pH was based on method 9040C, The analysis of TDS was based on method SM2540 C, The analysis of TKN was based on method SM4500 N Org B or C, The analysis of BOD5 was based on method SM5210 B and The analysis of COD was based on method SM5220 D.
D. QA/ QC Samples:

The Holding Times were met for all samples except for MW-1 of pH, for MW-11 of pH, for MW-5 of pH, for MW-6 of pH, for MW-EB-1 of pH, for MW-EB-2 of pH and for MW-EB-3 of pH as samples were receive out of holding time.
Sample MW-6 was diluted due to high concentrations for TKN & Sample MW-5 was diluted due to high concentrations for TKN & Sample MW-EB-1 was diluted due to high concentrations for TKN.
The Blank Spike met requirements for all compounds.
The Duplicate analysis met criteria for all compounds.
The Matrix Spike analysis met criteria for all compounds.
The Matrix Spike Duplicate analysis met criteria for all compounds.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

E. Additional Comments:
As per method 1664A, MS/MSD is required to be performed with the sample analysis. However, Lab did not receive sufficient volume to perform the MS/MSD for Q3534 therefore Lab reported MS-MSD from Q3551 and Q3554.
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


