[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
Ambric Technology Corporation
Project Name: NEWPCP Sludge Screen 13923-GE-25
Project # N/A
Order ID # Q3539
Test Name: pH
A. Number of Samples and Date of Receipt:

1 Solid sample was received on 11/04/2025.

B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

pH. This data package contains results for pH.

C. Analytical Techniques:

The analysis of pH was based on method 9045D.
D. QA/ QC Samples:

The Holding Times were met for all samples except for JF-HUEBNER of pH as sample was receive out of holding time.
The Duplicate analysis met criteria for all compounds.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

E. Additional Comments:
The Date and time of sampling was not listed in the COC.
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


