[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
Lockwood, Kessler & Bartlett, Inc.
Project Name: Syosset Landfill 2025
Project # N/A
Order ID # Q3560
Test Name: Alkalinity,Ammonia,Anions Group1,BOD5,Cyanide,pH,TDS,TKN,TOC,Total  Nitrogen,TSS,Turbidity
A. Number of Samples and Date of Receipt:

5 Water samples were received on 11/06/2025.

B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Alkalinity,Ammonia,Anions Group1,BOD5,Cyanide,pH,TDS,TKN,TOC,Total  Nitrogen,TSS,Turbidity. This data package contains results for Alkalinity,Ammonia, Anions Group1,BOD5,Cyanide,pH,TDS,TKN,TOC,Total  Nitrogen,TSS,Turbidity.

C. Analytical Techniques:

The analysis of Anions Group1 was based on method 300.0, The analysis of Cyanide was based on method 9012B, The analysis of pH was based on method 9040C, The analysis of Total  Nitrogen was based on method Cal, The analysis of Turbidity was based on method SM2130 B, The analysis of Alkalinity was based on method SM2320 B, The analysis of TDS was based on method SM2540 C, The analysis of TSS was based on method SM2540 D, The analysis of TKN was based on method SM4500 N Org B or C, The analysis of Ammonia was based on method SM4500-NH3, The analysis of BOD5 was based on method SM5210 B and The analysis of TOC was based on method SM5310B.
D. QA/ QC Samples:

The Holding Times were met for all samples except for SY-10D of pH, for SY-10I of pH, for SY-10S of pH, for SY-12D of pH and for SY-12I of pH as sample were receive out of holding time. The Holding Times were met for all samples except for SY-10IDL of Nitrate as samples Dilutions analyzed out of holding time.
Sample SY-10D was diluted due to high concentrations for Ammonia as N, Chloride & Sample SY-10S was diluted due to high concentrations for Chloride & Sample SY-10I was diluted due to high concentrations for Chloride, Nitrate & Sample SY-12I was diluted due to high concentrations for Ammonia as N, TKN, Chloride, Sulfate & Sample SY-12IDL was diluted due to high concentrations for Ammonia as N, Chloride & Sample SY-12D was diluted due to high concentrations for Chloride, Nitrate, Sulfate & Sample SY-12DDL was diluted due to high concentrations for Chloride, Sulfate.
The Blank Spike met requirements for all compounds.
The Duplicate analysis met criteria for all compounds.
The Matrix Spike (SY-10SMS) analysis met criteria for all compounds except for TOC due to sample matrix interference. The Matrix Spike (MANHOLEMS) analysis met criteria for all compounds except for Chloride due to sample matrix interference.
The Matrix Spike Duplicate (MANHOLEMSD) analysis met criteria for all compounds except for Chloride due to sample matrix interference.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

E. Additional Comments:
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


