[image: image1.png]AII|anoe

ECHNICA



[image: image1.png]

CASE NARRATIVE

Pacific Commercial Services Inc.
Project Name: Kilo Pier
Project # N/A
Order ID # Q3574
Test Name: TPH GC
A. Number of Samples and Date of Receipt:

3 Water samples were received on 11/07/2025.
B. Parameters


According to the Chain of Custody document, the following analyses were requested:

TPH GC. This data package contains results for TPH GC.

C. Analytical Techniques:

The analysis were performed on instrument FID_F. The column is RXI-1MS which is 20 meters, 0.18mm ID, 0.18 um df, catalog 13302.The analysis of TPH GC was based on method 8015D and extraction was done based on method 3510.
D. QA/ QC Samples:

The Holding Times were met for all analysis.
The Surrogate recoveries were met for all analysis except for 304641-01 Liquid [TETRACOSANE-d50 - 1725%]. Due to high concentration of compounds, this sample required dilution. Therefore, sample was reanalyzed with dilution and reported.
The Retention Times were met for all analysis.
The RPD were met for all analysis.
The Blank Spike met requirements for all compounds.

The Blank Spike Duplicate met requirements for all compounds.
The Blank analysis did not indicate the presence of lab contamination.
The Initial Calibration met the requirements.

The Continuous Calibration met the requirements.
Samples 304641-01 Liquid was diluted due to bad matrix. The above samples original run is reported as screening data in miscellaneous data. Original sample was directly analyzed with dilution due to sample was very bad matrix and Z Fuel Oily sample and need more dilution.

E. Additional Comments:
F. Manual Integration Comments:
Please refer to the Manual integration Report included with the Run Logs for information on the manual integrations performed.

I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


