          [image: image2.png]AII|anoe

ECHNICA




         284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
GC ANALYSIS CONFORMANCE/NON-CONFORMANCE SUMMARY
          [image: image1.png]AII|anoe

ECHNICA




         284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
GC ANALYSIS CONFORMANCE/NON-CONFORMANCE SUMMARY (CONTINUED)
	
	
	NA
	NO
	YES



	ORDER ID: Q3584

	MATRIX: Water

	METHOD: 8081B/3510

	


	
	
	NA
	NO
	YES

	1.
	Chromatograms Labeled/Compounds Identified.


	
	
	(

	2.
	Standard Summary Submitted.


	
	
	(

	3.
	Calibration - Initial Calibration performed within 30 days before sample analysis and continuing calibration performed within 24 hours of sample analysis, 12 HOURS IF 8000 SERIES METHOD.

The Initial Calibration met the requirements.
The Continuous Calibration met the requirements.

 ASK  wdcalcomm " "  \* MERGEFORMAT 

	
	
	(

	 4.
	Blank Contamination - If yes, list compounds and concentrations in each blank:


	
	(
	

	 5.
	Surrogate Recoveries Meet Criteria


If not met, list those compounds and their recoveries which fall outside the acceptable ranges.


	
	
	(

	 6.
	Matrix Spike/Matrix Spike Duplicate Recoveries Meet Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.

The Blank Spike met requirements for all compounds.

The Blank Spike Duplicate met requirements for all compounds.

The RPD were met for all analysis.

	
	
	(

	7.
	Retention Time Shift Meet Criteria (if applicable)

Comments: 


	
	
	(

	8.
	Extraction Holding Time Met 






If not met, list number of days exceeded for each sample:


	
	
	(

	9.
	Analysis Holding Time Met 






If not met, list those compounds and their recoveries which fall outside the acceptable range.


	
	
	(


ADDITIONAL COMMENTS: 
sample# 04 and 05 were received with limited volume for Pesticide.

sample#EB-2 was reported with J flag on form 1 for compound# Endrin based on reporting criteria of high concentration from both column. Now for other column compound detection is below MDL therefore it is not detecting on form 10
_______________________________________



__________________________

QA REVIEW







Date

[image: image1.png][image: image2.png]