[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
Remington & Vernick Engineers
Project Name: Edison Landfill
Project # N/A
Order ID # Q3586
Test Name: Cyanide,Hexavalent Chromium,TKN
A. Number of Samples and Date of Receipt:

3 Solid samples were received on 11/07/2025.

B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Cyanide,Hexavalent Chromium,TKN. This data package contains results for Cyanide,Hexavalent Chromium,TKN.

C. Analytical Techniques:

The analysis of Hexavalent Chromium was based on method 7196A, The analysis of Cyanide was based on method 9012B and The analysis of TKN was based on method SM4500 N Org B or C.
D. QA/ QC Samples:

The Holding Times were met for all analysis.
Sample SED-2 was diluted due to high concentrations for TKN.
The Blank Spike met requirements for all compounds.
The Duplicate analysis met criteria for all compounds.
The Matrix Spike (SED-2MS) analysis met criteria for all compounds except for TKN due to sample matrix interference.
The Matrix Spike Duplicate (SED-2MSD) analysis met criteria for all compounds except for TKN due to sample matrix interference.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

E. Additional Comments:
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


