[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
Core Environmental Consultants and Services, Inc.
Project Name: Jones Beach Concrete
Project # N/A
Order ID # Q3615
Test Name: Mercury,Metals ICP-TAL
A. Number of Samples and Date of Receipt:

1 Solid sample was received on 11/12/2025.
B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Mercury,Metals ICP-TAL. This data package contains results for Mercury,Metals ICP-TAL.

C. Analytical Techniques:

The analysis of Metals ICP-TAL was based on method 6010D, digestion based on method 3050 (soils). The analysis and digestion of Mercury was based on method 7471B.
D. QA/ QC Samples:

The Holding Times were met for all analysis.
The Blank Spike met requirements for all compounds.
The Duplicate (AU-713-COMP-01MSD) analysis met criteria for all compounds except for Iron, Manganese, Sodium and Zinc due to Chemical Interference during Digestion Process. 
The Matrix Spike (AU-713-COMP-01MS) analysis met criteria for all compounds except for Antimony, Potassium, Selenium, Sodium, Vanadium and Zinc due to Chemical Interference during Digestion Process. The Matrix Spike (COMP-3MS) analysis met criteria for all compounds except for Mercury due to Sample matrix interference.
The Matrix Spike Duplicate (AU-713-COMP-01MSD) analysis met criteria for all compounds except for Antimony, Barium, Potassium, Selenium, Sodium, Vanadium and Zinc due to Chemical Interference during Digestion Process. 
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

The Serial Dilution met the acceptable requirements.
E. Additional Comments:
In analytical Sequence LB137889, The % Recovery outside limit for Potassium and Sodium for CCV06 and CCV07 but, no any sample associated under this CCVs.

In  analytical Sequence LB137889, The Result outside limit for Potassium and Sodium for CCB06 and CCB07 but, no any sample associated under this CCBs.
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


