[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
ENTACT
Project Name: Whittaker Coatings Site – E9125B
Project # N/A
Order ID # Q3618
Test Name: Cyanide,Hexavalent Chromium,pH,TOC,Trivalent Chromium
A. Number of Samples and Date of Receipt:

2 Solid samples were received on 11/12/2025.

B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Cyanide,Hexavalent Chromium,pH,TOC,Trivalent Chromium. This data package contains results for Cyanide,Hexavalent Chromium,pH,TOC,Trivalent Chromium.

C. Analytical Techniques:

The analysis of Trivalent Chromium was based on method 6010D, The analysis of Hexavalent Chromium was based on method 7196A, The analysis of Cyanide was based on method 9012B, The analysis of pH was based on method 9045D and The analysis of TOC was based on method 9060A.
D. QA/ QC Samples:

The Holding Times were met for all samples except for EME-GENERAL-FILL of pH and for EME-TOP-SOIL of pH as samples were receive out of holding time.
The Blank Spike met requirements for all compounds.
The Duplicate (AU-713-COMP-01DUP) analysis met criteria for all compounds except for Hexavalent Chromium due to the results are below Reporting limit.
The Matrix Spike analysis met criteria for all compounds.
The Matrix Spike Duplicate analysis met criteria for all compounds.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

E. Additional Comments:
Lab has used least representable sample weight for the Q3618-01 for TOC analysis. Therefore Lab has reported the TOC result with "OR" qualifier.
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


