ALLIANCE 284 Sheffield Street, Mountainside New Jersey 07092

NEW JERSEY LAB ID#: 20012: NEW YORK LAB ID#: 11376

GENERAL CHEMISTRY CONFORMANCE/NON-CONFORMANCE SUMMARY
CHEMTECH 284 Sheffield Street, Mountainside New Jersey 07092

NEW JERSEY LAB ID#: 20012: NEW YORK LAB ID#: 11376

GENERAL CHEMISTRY CONFORMANCE/NON-CONFORMANCE SUMMARY (CONTINUED)

	ORDER ID: Q3618

	MATRIX: Solid

	METHOD: 6010D,7196A,9012B,9045D,9060A

	


	
	
	NA
	NO
	YES

	   1.
	Blank Contamination - If yes, list compounds and concentrations in each blank:


	
	(
	

	   2.
	Matrix Spike Duplicate Recoveries Met Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.

The Blank Spike met requirements for all compounds.

	
	
	(

	   3.
	Sample Duplicate Analysis Met QC Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.

The Duplicate (AU-713-COMP-01DUP) analysis met criteria for all compounds except for Hexavalent Chromium due to the results are below Reporting limit.

	
	(
	

	   8.
	Digestion Holding Time Met 






If not met, list number of days exceeded for each sample:

The Holding Times were met for all samples except for EME-GENERAL-FILL of pH and for EME-TOP-SOIL of pH as samples were receive out of holding time.

	
	(
	


ADDITIONAL COMMENTS: Lab has used least representable sample weight for the Q3618-01 for TOC analysis. Therefore Lab has reported the TOC result with "OR" qualifier.
_______________________________________



__________________________

QA REVIEW







Date

