[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
WSP USA Inc.
Project Name: Sharkey Landfill Site FYR Reuse Morris County NJ
Project # N/A
Order ID # Q3688
Test Name: Mercury,Metals CLP12
A. Number of Samples and Date of Receipt:

7 Water samples were received on 11/19/2025.

7 Water samples were received on 11/20/2025.

6 Water samples were received on 11/21/2025.

3 Water samples were received on 11/24/2025.
B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Mercury,Metals CLP12. This data package contains results for Mercury,Metals CLP12.

C. Analytical Techniques:

The analysis of Metals CLP12 was based on method SFAM_AES, digestion based on method 3010 (waters). The analysis of Mercury was based on method SFAM_HG and digestion was based on method 7470A (waters).
D. QA/ QC Samples:

The Holding Times were met for all analysis.
The Blank Spike met requirements for all compounds.
The Duplicate analysis met criteria for all compounds.
The Matrix Spike analysis met criteria for all compounds.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

The Serial Dilution met the acceptable requirements.
E. Additional Comments:
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


