[image: image1.png]AII|anoe

ECHNICA






284 Sheffield Street, Mountainside, NJ 7092, Phone: 908 789 8900, Fax: 908 789 8922


CASE NARRATIVE

Europastry
Project Name: MCUA Permit No 14241 - 571 Jersey Ave NB NJ
Project # N/A
Order ID # Q3705
Test Name: Metals Group3, Oil and Grease, TPH
A. Number of Samples and Date of Receipt:

3 Water samples were received on 11/21/2025.

B. Parameters


According to the Chain of Custody document, the following analyses were requested:

Metals Group3, Oil and Grease, TPH. This data package contains results for Metals Group3, Oil and Grease(1664A),TPH(1664A).

C. Analytical Techniques:

Metals Group3 : The analysis of Metals Group3 was based on method 6010D and digestion based on method 3010 (waters).

Wetchem : The analysis of Oil and Grease, TPH was based on method 1664A.
D. QA/ QC Samples:

The Holding Times were met for all analysis..
The MS recoveries met the requirements for all compounds.
The MSD recoveries met the acceptable requirements.
The RPD recoveries met criteria.
The Blank Spike met requirements for all compounds.  
The Blank Spike Duplicate met requirements for all compounds.
The Blank analysis did not indicate the presence of lab contamination.
The Initial Calibration met the requirements.

The Continuous Calibration met the requirements.
The Duplicate analysis met criteria for all samples.
The Serial Dilution met the acceptable requirements.
E. Additional Comments:
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


