[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
Roman E&G Corp
Project Name: AQUA Woolwich Pump Station 22-531
Project # N/A
Order ID # Q3725
Test Name: Mercury,Metals  NJClean Group  New
A. Number of Samples and Date of Receipt:

1 Solid sample was received on 11/25/2025.
B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Mercury,Metals  NJClean Group  New. This data package contains results for Mercury, Metals  NJClean Group  New.

C. Analytical Techniques:

The analysis of Metals  NJClean Group  New was based on method 6010D, digestion based on method 3050 (soils). The analysis and digestion of Mercury was based on method 7471B.
D. QA/ QC Samples:

The Holding Times were met for all analysis.
The Blank Spike met requirements for all compounds.
The Duplicate analysis met criteria for all compounds.
The Matrix Spike (WC1MS) analysis met criteria for all compounds except for Antimony and Vanadium due to Chemical Interference during Digestion Process.
The Matrix Spike Duplicate (WC1MSD) analysis met criteria for all compounds except for Antimony due to Chemical Interference during Digestion Process.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

The Serial Dilution met criteria for all compounds.
E. Additional Comments:
The Post Digest Spike (WC1A) analysis met criteria for all compounds except for Antimony and Vanadium due to unknown chemical interference of matrix with the addition of spike amount after digestion and before analysis; matrix has suppression effect during addition of spike.

Sample Q3725-04 has unknown interferences from the soil which can suppress the actual concentration without dilution and also can effect the path of sample probe and tubes and the nebulizer can be blocked to make the small orifice and hence can effect QC failure. So straight 5X dilution was necessary for analyze sample.

The temperature of the samples at the time of receipt was 16.1°C. 

The time of sampling was not listed in the COC.
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


