[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
JPCL Engineering
Project Name: NYCDPR BGCY Playground - W 145th St
Project # N/A
Order ID # Q3731
Test Name: Flash Point
A. Number of Samples and Date of Receipt:

1 Water sample was received on 11/26/2025.

B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Flash Point. This data package contains results for Flash Point.

C. Analytical Techniques:

The analysis of Flash Point was based on method 1010B.
D. QA/ QC Samples:

The Holding Times were met for all analysis.
The Blank Spike met requirements for all compounds.
The Duplicate analysis met criteria for all compounds.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

E. Additional Comments:
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


