[image: image1.png]AII|anoe

ECHNICA






284 Sheffield Street, Mountainside, NJ 7092, Phone: 908 789 8900, Fax: 908 789 8922


CASE NARRATIVE

G Environmental
Project Name: Buff
Project # N/A
Order ID # Q3737
Test Name: Metals Group4,Alkalinity,Anions Group1
A. Number of Samples and Date of Receipt:

2 Water samples were received on 11/26/2025.

B. Parameters


According to the Chain of Custody document, the following analyses were requested:

Metals Group4,Alkalinity,Anions Group1. This data package contains results for Metals Group4(6010D),Alkalinity(SM2320 B),Anions Group1(300.0).

C. Analytical Techniques:

Metals Group4 : The analysis of Metals Group4 was based on method 6010D and digestion based on method 3010 (waters).

Wetchem : The analysis of Anions Group1 was based on method 300.0 and The analysis of Alkalinity was based on method SM2320 B.

D. QA/ QC Samples:
The Holding Times were met for all analysis.
Wetchem : Sample MW3 was diluted due to high concentrations for Sulfate & Sample MW4 was diluted due to high concentrations for Sulfate.

The MS recoveries met the requirements for all compounds except following Wetchem : The Matrix Spike (MW4MS) analysis met criteria for all compounds except for Anions Group1(Sulfate) due to sample matrix interference.

The MSD recoveries met the requirements for all compounds except following Wetchem : The Matrix Spike Duplicate (MW4MSD) analysis met criteria for all compounds except for Anions Group1(Sulfate) due to sample matrix interference.

The Blank Spike met requirements for all compounds.

The Blank analysis did not indicate the presence of lab contamination.
The Initial Calibration met the requirements.

The Continuous Calibration met the requirements.
The Duplicate analysis met criteria for all compounds.
The Serial Dilution met the acceptable requirements.
E. Additional Comments:
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


