ALLIANCE 284 Sheffield Street, Mountainside New Jersey 07092

NEW JERSEY LAB ID#: 20012: NEW YORK LAB ID#: 11376

METALS CONFORMANCE/NON-CONFORMANCE SUMMARY
ALLIANCE 284 Sheffield Street, Mountainside New Jersey 07092

NEW JERSEY LAB ID#: 20012: NEW YORK LAB ID#: 11376

METALS CONFORMANCE/NON-CONFORMANCE SUMMARY (CONTINUED)
	
	
	NA
	NO
	YES



	ORDER ID: Q3741

	MATRIX: Solid

	METHOD: 6010D,7471B

	


	
	
	NA
	NO
	YES

	   1.
	Calibration Summary met criteria.


	
	
	(

	   2.
	ICP Interference Check Sample Results Summary Submitted.


	
	
	(

	   3.
	Serial Dilution Summary (if applicable) Submitted.

The Serial Dilution met criteria for all compounds.

	
	(
	

	   4.
	Laboratory Control Sample Summary (if applicable) Submitted.


	
	
	(

	   5.
	Blank Contamination - If yes, list compounds and concentrations in each blank:



	
	(
	

	   6.
	Matrix Spike/Matrix Spike Duplicate Recoveries Met Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.

The Matrix Spike (B50-SP3-111925MS) analysis met criteria for all compounds except for Mercury due to matrix interference. The Matrix Spike (FENCE WC-1MS) analysis met criteria for all compounds except for Antimony, Barium, Copper, Lead, Sodium, Vanadium due to soil matrix is having tiny stones along with brown soil, which is causing not consistent recovery for these elements and also their is unknown interference during digestion.  The Matrix Spike Duplicate (B50-SP3-111925MSD) analysis met criteria for all compounds except for Mercury due to matrix interference. The Matrix Spike Duplicate (FENCE WC-1MSD) analysis met criteria for all compounds except for Antimony, Barium, Lead, Sodium due to soil matrix is having tiny stones along with brown soil, which is causing not consistent recovery for these elements and also their is unknown interference during digestion.

	
	(
	

	   7.
	Sample Duplicate Analysis Met QC Criteria

If not met, list those compounds and their recoveries which fall outside the acceptable range.

The Duplicate (FENCE WC-1MSD) analysis met criteria for all compounds except for Aluminum, Barium, Calcium, Iron, Lead, Zinc due to soil matrix is having tiny stones along with brown soil, which is causing not consistent recovery for these elements and also their is unknown interference during digestion.

	
	(
	

	   8.
	Digestion Holding Time Met 






If not met, list number of days exceeded for each sample:


	
	
	(

	   9.
	Analysis Holding Time Met 






If not met, list those compounds and their recoveries which fall outside the acceptable range.


	
	
	(


ADDITIONAL COMMENTS: The Post Digest Spike (SB-1125-24A) analysis met criteria for all compounds except for Mercury due to unknown chemical interference of matrix with the addition of spike amount after digestion and before analysis; matrix has suppression effect during addition of spike.

The Post Digest Spike (FENCE WC-1A) analysis met criteria for all compounds except for Barium due to unknown chemical interference of matrix with the addition of spike amount after digestion and before analysis; matrix has suppression effect during addition of spike.
_______________________________________



__________________________

QA REVIEW







Date


