[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
Core Environmental Consultants and Services, Inc.
Project Name: Brooklyn Navy Yard Building 50 SI
Project # N/A
Order ID # Q3741
Test Name: Mercury,Metals ICP-TAL
A. Number of Samples and Date of Receipt:

6 Solid samples were received on 11/26/2025.

1 Water sample was received on 11/26/2025.
B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Mercury,Metals ICP-TAL. This data package contains results for Mercury,Metals ICP-TAL.

C. Analytical Techniques:

The analysis of Metals ICP-TAL was based on method 6010D, digestion based on method 3050 (soils). The analysis and digestion of Mercury was based on method 7471B.
D. QA/ QC Samples:

The Holding Times were met for all analysis.
Sample B50-SP3-111925 was diluted due to high concentrations for Mercury & Sample B50-SP13-112025 was diluted due to high concentrations for Mercury & Sample B50-SP14-112025 was diluted due to high concentrations for Mercury & Sample B50-SP9-112425 was diluted due to high concentrations for Mercury & Sample B50-SP4-112525 was diluted due to high concentrations for Mercury.
The Blank Spike met requirements for all compounds.
The Duplicate (FENCE WC-1MSD) analysis met criteria for all compounds except for Aluminum, Barium, Calcium, Iron, Lead, Zinc due to soil matrix is having tiny stones along with brown soil, which is causing not consistent recovery for these elements and also their is unknown interference during digestion.
The Matrix Spike (B50-SP3-111925MS) analysis met criteria for all compounds except for Mercury due to matrix interference. The Matrix Spike (FENCE WC-1MS) analysis met criteria for all compounds except for Antimony, Barium, Copper, Lead, Sodium, Vanadium due to soil matrix is having tiny stones along with brown soil, which is causing not consistent recovery for these elements and also their is unknown interference during digestion.
The Matrix Spike Duplicate (B50-SP3-111925MSD) analysis met criteria for all compounds except for Mercury due to matrix interference. The Matrix Spike Duplicate (FENCE WC-1MSD) analysis met criteria for all compounds except for Antimony, Barium, Lead, Sodium due to soil matrix is having tiny stones along with brown soil, which is causing not consistent recovery for these elements and also their is unknown interference during digestion.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

The Serial Dilution met criteria for all compounds.
E. Additional Comments:
The Post Digest Spike (SB-1125-24A) analysis met criteria for all compounds except for Mercury due to unknown chemical interference of matrix with the addition of spike amount after digestion and before analysis; matrix has suppression effect during addition of spike.

The Post Digest Spike (FENCE WC-1A) analysis met criteria for all compounds except for Barium due to unknown chemical interference of matrix with the addition of spike amount after digestion and before analysis; matrix has suppression effect during addition of spike.
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


