[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
Tetra Tech NUS, Inc.
Project Name: CTO WA194808 Dahlgren VA - DOD VELAP
Project Manager : Aaron Bernhardt

Order ID # Q3776
Test Name: Corrosivity,Flash Point
A. Number of Samples and Date of Receipt:

1 Water sample was received on 12/04/2025.

B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Corrosivity,Flash Point. This data package contains results for Corrosivity,Flash Point.

C. Analytical Techniques:

The analysis of Flash Point was based on method 1010B and The analysis of Corrosivity was based on method 9040C.
D. QA/ QC Samples:

The Holding Times were met for all samples except for IDW-RAD-20251203 of Corrosivity as sample was receive out of holding time.
The Blank Spike met requirements for all compounds.
The Duplicate analysis met criteria for all compounds.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

E. Additional Comments:
The laboratory certifies that the all-electronic diskette deliverable exactly match the data summary forms (i.e. Form Is).
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


