[image: image1.png]AII|anoe

ECHNICA



[image: image1.png]

CASE NARRATIVE

JACOBS Engineering Group, Inc.
Project Name: Former Schlumberger STC PTC Site  D3868221
Project # N/A
Order ID # Q3788
Test Name: VOC-SIM
A. Number of Samples and Date of Receipt:

14 Water samples were received on 12/05/2025.
B. Parameters


According to the Chain of Custody document, the following analyses were requested:

VOC-SIM. This data package contains results for VOC-SIM.

C. Analytical Techniques:

The analysis performed on instrument MSVOA_V were done using GC column DB-624UI 20m 0.18mm 1.0 um. Cat#121-1324UI. The analysis of VOC-SIM was based on method SFAM_VOCSIM.
D. QA/ QC Samples:

The Holding Times were met for all analysis.
The Surrogate recoveries were met for all analysis except for OWBR-05-135-120525-SIM [1,2-Dichloroethane-d4 - 157%], OWBR-05-135-120525-SIMMS [1,2-Dichloroethane-d4 - 162%], OWBR-05-135-120525-SIMMSD [1,2-Dichloroethane-d4 - 163%] Surrogate failure for Original sample confirmed with MS-MSD,

while BR-05-465-120525-SIM [1,1,2,2-Tetrachloroethane-d2 - 0%] and BR-05-465-120525-SIMRE [1,1,2,2-Tetrachloroethane-d2 - 1%] sample was reanalyzed to confirm the failure and reported.
The Internal Standards Areas were met for all analysis except for MW-16B-87.5-120525-SIM as sample has bad chromatogram and high tic analytes,lab has not taken corrective action as ion may interfere with target analytes.
The Retention Times were met for all analysis.
The MS recoveries met the requirements for all compounds.
The MSD recoveries met the requirements for all compounds.
The RPD were met for all analysis.
The Blank analysis did not indicate the presence of lab contamination.
The Initial Calibration met the requirements.

The Continuous Calibration met the requirements.
The Tuning criteria met requirements.          

E. Additional Comments:
F. Manual Integration Comments:
Please refer to the Manual integration Report included with the Run Logs for information on the manual integrations performed.

I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


