[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
Woodard & Curran
Project Name: US EPA Riverside Industrial Park Superfund Site
Project # N/A
Order ID # Q3834
Test Name: Ignitability
A. Number of Samples and Date of Receipt:

30 Solid samples were received on 12/10/2025.

B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Ignitability. This data package contains results for Ignitability.

C. Analytical Techniques:

The analysis of Ignitability was based on method 1030.
D. QA/ QC Samples:

The Holding Times were met for all analysis.
The Duplicate analysis met criteria for all compounds.
The Calibration met the requirements.      

E. Additional Comments:
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


