[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
ALS Environmental
Project Name: ALS Middletown
Project # N/A
Order ID # Q3851
Test Name: Ammonia
A. Number of Samples and Date of Receipt:

3 Solid samples were received on 12/12/2025.

B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Ammonia. This data package contains results for Ammonia.

C. Analytical Techniques:

The analysis of Ammonia was based on method SM4500-NH3.
D. QA/ QC Samples:

The Holding Times were met for all analysis.
Sample MRS/NRS was diluted due to high concentrations for Ammonia as N & Sample Delumper Feed was diluted due to high concentrations for Ammonia as N & Sample Delumper FeedDL was diluted due to high concentrations for Ammonia as N & Sample MIX was diluted due to high concentrations for Ammonia as N.
The Blank Spike met requirements for all compounds.
The Duplicate analysis met criteria for all compounds.
The Matrix Spike analysis met criteria for all compounds.
The Matrix Spike Duplicate analysis met criteria for all compounds.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

E. Additional Comments:
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


