[image: image1.png]AII|anoe

ECHNICA





284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922
CASE NARRATIVE
Pacific Commercial Services Inc.
Project Name: Red Hill Pipeline Demo
Project # N/A
Order ID # Q3852
Test Name: Corrosivity,Ignitability
A. Number of Samples and Date of Receipt:

6 Solid samples were received on 12/12/2025.

B. Parameters:


According to the Chain of Custody document, the following analyses were requested:

Corrosivity,Ignitability. This data package contains results for Corrosivity,Ignitability.

C. Analytical Techniques:

The analysis of Ignitability was based on method 1030 and The analysis of Corrosivity was based on method 9045D.
D. QA/ QC Samples:

The Holding Times were met for all samples except for AI COVE 11 12" of Corrosivity, for AI COVE 15&16 12" of Corrosivity, for AI COVE 16 20" of Corrosivity, for TK 7&8 20" of Corrosivity, for TK 9&10 12" of Corrosivity and for TK 9&10 20" of Corrosivity as samples were receive out of holding time.
The Blank Spike met requirements for all compounds.
The Duplicate analysis met criteria for all compounds.
The Blank analysis did not indicate the presence of lab contamination.
The Calibration met the requirements.      

E. Additional Comments:
[image: image1.png]
I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________


